## TagNames
TagNames
A_Load_Timer
A_Start
A_Stop_Timer
A_Unload_Timer
Above_FLA
Above_PSP
ACC4
Ack_Command
Actual_Safety_Factor
Adjusted_Surge_Point
AI_Names
AIN_Alt_AT_Mul
AIN_Cal
AIN_En
AIN_EU_Max
AIN_EU_Min
AIN_Filt_Wt
AIN_HA
AIN_HA_Enable
AIN_HAV
AIN_HAV_ALT
AIN_HT
AIN_HT_Enable
AIN_HTV
AIN_HTV_ALT
AIN_LA
AIN_LA_Enable
AIN_LAV
AIN_LT
AIN_LT_Enable
AIN_LTV
AIN_Pressure_Enable
AIN_Raw_Max
AIN_Raw_Min
AIN_Scaled
AIN_Scaled_Old
AIN_Temperature_Enable
AIN_TF
AIN_TF_Enable
AIN_Vib_Enable
Air_Flow
Air_Flow_AT_Mul
Air_Flow_HA
Air_Flow_HAV
Air_Flow_HT
Air_Flow_HTV
Air_Flow_LA
Air_Flow_LAV
Air_Flow_LT
Air_Flow_LTV
Air_Flow_TF
Alarm_Ack
AlarmWord
ALWAYS_FALSE
Analog_InputScaled_uf_1
AOUT
AOUT_Cal
AOUT_En
AOUT_EU_Max
AOUT_EU_Min
AOUT_Raw_Max
AOUT_Raw_Min
AS_Line_Offset
AS_Process_Var
Asurge
ASurge_Current
ASurge_Pressure
At_Min_Pos
Atmosphere_Press
Auto_Load
Auto_Start
Auto_Start_Enabled
Auto_Stop
Auto_Stop_Enabled
Auto_Unload
Axial1_Pos
Axial1_Pos_HA
Axial1_Pos_HAV
Axial1_Pos_HT
Axial1_Pos_HTV
Axial1_Pos_LA
Axial1_Pos_LAV
Axial1_Pos_LT
Axial1_Pos_LTV
Axial1_Pos_TF
Axial2_Pos
Axial2_Pos_HA
Axial2_Pos_HAV
Axial2_Pos_HT
Axial2_Pos_HTV
Axial2_Pos_LA
Axial2_Pos_LAV
Axial2_Pos_LT
Axial2_Pos_LTV
Axial2_Pos_TF
Axial3_Pos
Axial3_Pos_HA
Axial3_Pos_HAV
Axial3_Pos_HT
Axial3_Pos_HTV
Axial3_Pos_LA
Axial3_Pos_LAV
Axial3_Pos_LT
Axial3_Pos_LTV
Axial3_Pos_TF
Axial4_Pos
Axial4_Pos_HA
Axial4_Pos_HAV
Axial4_Pos_HT
Axial4_Pos_HTV
Axial4_Pos_LA
Axial4_Pos_LAV
Axial4_Pos_LT
Axial4_Pos_LTV
Axial4_Pos_TF
Axial5_Pos
Axial5_Pos_HA
Axial5_Pos_HAV
Axial5_Pos_HT
Axial5_Pos_HTV
Axial5_Pos_LA
Axial5_Pos_LAV
Axial5_Pos_LT
Axial5_Pos_LTV
Axial5_Pos_TF
BAR_U
Barometric_Press
Below_PSP
BV_1
BV_2
BV_3
BV_4
BV_5
BV_6
BV_Antisurge_Cntrl
BV_Closed
BV_Correction
BV_Correction_Enabled
BV_Fast_Open
BV_Full_Open
BV_GOTO_100
BV_Input
BV_Input_HA
BV_Input_HAV
BV_Input_HT
BV_Input_HTV
BV_Input_LA
BV_Input_LAV
BV_Input_LT
BV_Input_LTV
BV_Input_TF
BV_Man_Ramp_Rate
BV_Offset
BV_Open
BV_P_Test
BV_PID
BV_PID_Out
BV_Press_Error
BV_Press_Prev_Error
BV_Ramp_Closed
BV_Ramp_Open
BV_State
BV_States
BV_T
Bypass_Valve
Bypass_Valve_PID_Update
Bypass_Valve_to_Scale
Calc_Current
Coast_Relay
Compressor_State
Compressor_Status
Condensate_Time_Cycle
Control_Line
Control_line_Setpiont
Cooling_Water_Temp
Cooling_Water_Temp_AT_Mul
Cooling_Water_Temp_HA
Cooling_Water_Temp_HAV
Cooling_Water_Temp_HT
Cooling_Water_Temp_HTV
Cooling_Water_Temp_LA
Cooling_Water_Temp_LAV
Cooling_Water_Temp_LT
Cooling_Water_Temp_LTV
Cooling_Water_Temp_TF
CT_Output
CT_Output_HA
CT_Output_HAV
CT_Output_HT
CT_Output_HTV
CT_Output_LA
CT_Output_LAV
CT_Output_LT
CT_Output_LTV
CT_Output_TF
Current_Rate_SP
Current_Scaled
CV_Closed
CV_Indication
CV_Offset
CW_VLV_Open
D_AIN_HAV
D_AIN_HTV
D_AIN_LAV
D_AIN_LTV
D_AIN_Scaled
D_Auto_Load_Press
D_Auto_Load_Time
D_Auto_Start_Press
D_Auto_Start_Time
D_Auto_Stop_Time
D_Auto_Unload_Time
D_Axial1_Pos
D_Axial1_Pos_HAV
D_Axial1_Pos_HTV
D_Axial1_Pos_LAV
D_Axial1_Pos_LTV
D_Axial2_Pos
D_Axial2_Pos_HAV
D_Axial2_Pos_HTV
D_Axial2_Pos_LAV
D_Axial2_Pos_LTV
D_Axial3_Pos
D_Axial3_Pos_HAV
D_Axial3_Pos_HTV
D_Axial3_Pos_LAV
D_Axial3_Pos_LTV
D_Axial4_Pos
D_Axial4_Pos_HAV
D_Axial4_Pos_HTV
D_Axial4_Pos_LAV
D_Axial4_Pos_LTV
D_Axial5_Pos
D_Axial5_Pos_HAV
D_Axial5_Pos_HTV
D_Axial5_Pos_LAV
D_Axial5_Pos_LTV
D_Blowdown_Cycle_Time
D_BV_AS_D
D_BV_AS_I
D_BV_AS_P
D_BV_Feedback
D_BV_Man_Ramp_Rate
D_BV_Ramp_Rate
D_Bypass_Valve
D_Coast_Down_Time
D_Condensate_Cycle_Time
D_Cooling_Water_Temp
D_Cooling_Water_Temp_HAV
D_Cooling_Water_Temp_HTV
D_CT_Ratio
D_DE_BRG_Temp
D_DE_BRG_Temp_HAV
D_DE_BRG_Temp_HTV
D_DE_BRG_Temp_LAV
D_DE_BRG_Temp_LTV
D_DE_BRG_Vib
D_DE_BRG_Vib_HAV
D_DE_BRG_Vib_HTV
D_DE_BRG_Vib_LAV
D_DE_BRG_Vib_LTV
D_Flow_Input
D_Heater_Off_Temp
D_Heater_On_Temp
D_Index_Value
D_Inlet_Filter_DP
D_Inlet_Filter_DP_HAV
D_Inlet_Filter_DP_HTV
D_Inlet_Temp
D_Inlet_Temp_HAV
D_Inlet_Temp_HTV
D_Inlet_Temp_LAV
D_Inlet_Temp_LTV
D_Inlet_Valve
D_IV_Feedback
D_IV_FLA_D
D_IV_FLA_I
D_IV_FLA_P
D_IV_Idle_Position
D_IV_Man_Ramp_Rate
D_IV_Press_D
D_IV_Press_I
D_IV_Press_P
D_IV_Ramp_Rate
D_IV_Start_Position
D_Motor_FLA
D_NDE_BRG_Temp
D_NDE_BRG_Temp_HAV
D_NDE_BRG_Temp_HTV
D_NDE_BRG_Temp_LAV
D_NDE_BRG_Temp_LTV
D_NDE_BRG_Vib
D_NDE_BRG_Vib_HAV
D_NDE_BRG_Vib_HTV
D_NDE_BRG_Vib_LAV
D_NDE_BRG_Vib_LTV
D_Oil_Press
D_Oil_Press_HAV
D_Oil_Press_HTV
D_Oil_Press_LAV
D_Oil_Press_LTV
D_Oil_Temp
D_Oil_Temp_HAV
D_Oil_Temp_HTV
D_Oil_Temp_LAV
D_Oil_Temp_LTV
D_PhaseA_Temp
D_PhaseA_Temp_HAV
D_PhaseA_Temp_HTV
D_PhaseA_Temp_LAV
D_PhaseA_Temp_LTV
D_PhaseB_Temp
D_PhaseB_Temp_HAV
D_PhaseB_Temp_HTV
D_PhaseB_Temp_LAV
D_PhaseB_Temp_LTV
D_PhaseC_Temp
D_PhaseC_Temp_HAV
D_PhaseC_Temp_HTV
D_PhaseC_Temp_LAV
D_PhaseC_Temp_LTV
D_Post_Run_Time
D_Safety_Factor
D_Stage1_Press
D_Stage1_Press_HAV
D_Stage1_Press_HTV
D_Stage1_Press_LAV
D_Stage1_Press_LTV
D_Stage1_Temp
D_Stage1_Temp_HAV
D_Stage1_Temp_HTV
D_Stage1_Temp_LAV
D_Stage1_Temp_LTV
D_Stage1_Vib
D_Stage1_Vib_HAV
D_Stage1_Vib_HTV
D_Stage1_Vib_LAV
D_Stage1_Vib_LTV
D_Stage1Y_Vib
D_Stage1Y_Vib_HAV
D_Stage1Y_Vib_HTV
D_Stage1Y_Vib_LAV
D_Stage1Y_Vib_LTV
D_Stage2_Press
D_Stage2_Press_HAV
D_Stage2_Press_HTV
D_Stage2_Press_LAV
D_Stage2_Press_LTV
D_Stage2_Temp
D_Stage2_Temp_HAV
D_Stage2_Temp_HTV
D_Stage2_Temp_LAV
D_Stage2_Temp_LTV
D_Stage2_Vib
D_Stage2_Vib_HAV
D_Stage2_Vib_HTV
D_Stage2_Vib_LAV
D_Stage2_Vib_LTV
D_Stage2Y_Vib
D_Stage2Y_Vib_HAV
D_Stage2Y_Vib_HTV
D_Stage2Y_Vib_LAV
D_Stage2Y_Vib_LTV
D_Stage3_Press
D_Stage3_Press_HAV
D_Stage3_Press_HTV
D_Stage3_Press_LAV
D_Stage3_Press_LTV
D_Stage3_Temp
D_Stage3_Temp_HAV
D_Stage3_Temp_HTV
D_Stage3_Temp_LAV
D_Stage3_Temp_LTV
D_Stage3_Vib
D_Stage3_Vib_HAV
D_Stage3_Vib_HTV
D_Stage3_Vib_LAV
D_Stage3_Vib_LTV
D_Stage3Y_Vib
D_Stage3Y_Vib_HAV
D_Stage3Y_Vib_HTV
D_Stage3Y_Vib_LAV
D_Stage3Y_Vib_LTV
D_Stage4_Press
D_Stage4_Press_HAV
D_Stage4_Press_HTV
D_Stage4_Press_LAV
D_Stage4_Press_LTV
D_Stage4_Temp
D_Stage4_Temp_HAV
D_Stage4_Temp_HTV
D_Stage4_Temp_LAV
D_Stage4_Temp_LTV
D_Stage4_Vib
D_Stage4_Vib_HAV
D_Stage4_Vib_HTV
D_Stage4_Vib_LAV
D_Stage4_Vib_LTV
D_Stage4Y_Vib
D_Stage4Y_Vib_HAV
D_Stage4Y_Vib_HTV
D_Stage4Y_Vib_LAV
D_Stage4Y_Vib_LTV
D_Stage5_Press
D_Stage5_Press_HAV
D_Stage5_Press_HTV
D_Stage5_Press_LAV
D_Stage5_Press_LTV
D_Stage5_Temp
D_Stage5_Temp_HAV
D_Stage5_Temp_HTV
D_Stage5_Temp_LAV
D_Stage5_Temp_LTV
D_Stage5_Vib
D_Stage5_Vib_HAV
D_Stage5_Vib_HTV
D_Stage5_Vib_LAV
D_Stage5_Vib_LTV
D_Stage5Y_Vib
D_Stage5Y_Vib_HAV
D_Stage5Y_Vib_HTV
D_Stage5Y_Vib_LAV
D_Stage5Y_Vib_LTV
D_Starting_Time
D_Surge_Count
D_Surge_Index_Value
D_Surge_Point
D_Surge_Sensitivity
D_System_Press
D_User_PSP
D_User_PSP_Down
D_User_PSP_Up
DE_BRG_Temp
DE_BRG_Temp_HA
DE_BRG_Temp_HAV
DE_BRG_Temp_HT
DE_BRG_Temp_HTV
DE_BRG_Temp_LA
DE_BRG_Temp_LAV
DE_BRG_Temp_LT
DE_BRG_Temp_LTV
DE_BRG_Temp_TF
DE_BRG_Vib
DE_BRG_Vib_HA
DE_BRG_Vib_HAV
DE_BRG_Vib_HT
DE_BRG_Vib_HTV
DE_BRG_Vib_LA
DE_BRG_Vib_LAV
DE_BRG_Vib_LT
DE_BRG_Vib_LTV
DE_BRG_Vib_TF
Default_Settings
Delta_P
DEV_Scale_High
DEV_Scale_Low
Deviation_Scaled
DI_1
DI_10
DI_11
DI_12
DI_13
DI_14
DI_15
DI_16
DI_2
DI_3
DI_4
DI_5
DI_AHS_Enable
DI_Alarm_En
DI_AST_Enable
DI_Bently_Alarm_Enable
DI_Bently_Trip_Enable
DI_BN_Alarm
DI_BN_Trip
DI_BV_Fully_Open
DI_Cond_LS
DI_Cond_LS2
DI_Cond_LS3
DI_Cond_LS4
DI_Cond_LS5
DI_Cond_LS6
DI_Condensate_Alarm_Enable
DI_Control_Air_OK
DI_E_Stop
DI_Inlet_Filter
DI_Inlet_Filter_Enable
DI_IV_Fully_Open
DI_Motor_Trip_Enable
DI_Oil_Filter
DI_Oil_Filter_Enable
DI_Oil_Filter2
DI_Oil_Level
DI_Oil_Level_Enable
DI_Remote_Ack
DI_Remote_Comms
DI_Remote_Functions
DI_Remote_Load
DI_Remote_Reset
DI_Remote_Start
DI_Remote_Stop
DI_RUST_Enable
DI_Seal_Air
DI_Starter_FdBk
DI_Trip_En
DI_Valve1_Open
DI_Valve2_Open
DI_Valve3_Open
DI_Valve4_Open
DI_Water_Flow
DI_Water_Flow_Enable
DIN
Discharge_Temp
DO_Alarm_Contact
DO_Auto_Hot_Start_Light
DO_Blowdown
DO_Cooling_Water_Sol
DO_CR1
DO_CR2
DO_CR3
DO_Horn
DO_Mom_Start
DO_Mom_Stop
DO_Oil_Heater
DO_Prelube_Pump
DO_Remote_Enabled
do_Surge_Test
DO_Trip_Contact
DO_Trouble_Contact
DOUT
Dryer_Discharge_Press
Dryer_Discharge_Press_AT_Mul
Dryer_Discharge_Press_HA
Dryer_Discharge_Press_HAV
Dryer_Discharge_Press_HT
Dryer_Discharge_Press_HTV
Dryer_Discharge_Press_LA
Dryer_Discharge_Press_LAV
Dryer_Discharge_Press_LT
Dryer_Discharge_Press_LTV
Dryer_Discharge_Press_TF
E_AIN_HAV
E_AIN_HTV
E_AIN_LAV
E_AIN_LTV
E_Auto_Load_Press
E_Auto_Load_Time
E_Auto_Start_Press
E_Auto_Start_Time
E_Auto_Stop_Time
E_Auto_Unload_Time
E_Axial1_Pos_HAV
E_Axial1_Pos_HTV
E_Axial1_Pos_LAV
E_Axial1_Pos_LTV
E_Axial2_Pos_HAV
E_Axial2_Pos_HTV
E_Axial2_Pos_LAV
E_Axial2_Pos_LTV
E_Axial3_Pos_HAV
E_Axial3_Pos_HTV
E_Axial3_Pos_LAV
E_Axial3_Pos_LTV
E_Axial4_Pos_HAV
E_Axial4_Pos_HTV
E_Axial4_Pos_LAV
E_Axial4_Pos_LTV
E_Axial5_Pos_HAV
E_Axial5_Pos_HTV
E_Axial5_Pos_LAV
E_Axial5_Pos_LTV
E_Blowdown_Cycle_Time
E_BV_AS_D
E_BV_AS_I
E_BV_AS_P
E_BV_Man_Ramp_Rate
E_BV_Ramp_Rate
E_Coast_Down_Time
E_Condensate_Cycle_Time
E_Cooling_Water_Temp_HAV
E_Cooling_Water_Temp_HTV
E_CT_Ratio
E_DE_BRG_Temp_HAV
E_DE_BRG_Temp_HTV
E_DE_BRG_Temp_LAV
E_DE_BRG_Temp_LTV
E_DE_BRG_Vib_HAV
E_DE_BRG_Vib_HTV
E_DE_BRG_Vib_LAV
E_DE_BRG_Vib_LTV
E_Heater_Off_Temp
E_Heater_On_Temp
E_Index_Value
E_Inlet_Filter_DP_HAV
E_Inlet_Filter_DP_HTV
E_Inlet_Temp_HAV
E_Inlet_Temp_HTV
E_Inlet_Temp_LAV
E_Inlet_Temp_LTV
E_IV_FLA_D
E_IV_FLA_I
E_IV_FLA_P
E_IV_Idle_Position
E_IV_Man_Ramp_Rate
E_IV_Press_D
E_IV_Press_I
E_IV_Press_P
E_IV_Ramp_Rate
E_IV_Start_Position
E_Motor_FLA
E_NDE_BRG_Temp_HAV
E_NDE_BRG_Temp_HTV
E_NDE_BRG_Temp_LAV
E_NDE_BRG_Temp_LTV
E_NDE_BRG_Vib_HAV
E_NDE_BRG_Vib_HTV
E_NDE_BRG_Vib_LAV
E_NDE_BRG_Vib_LTV
E_Oil_Press_HAV
E_Oil_Press_HTV
E_Oil_Press_LAV
E_Oil_Press_LTV
E_Oil_Temp_HAV
E_Oil_Temp_HTV
E_Oil_Temp_LAV
E_Oil_Temp_LTV
E_PhaseA_Temp_HAV
E_PhaseA_Temp_HTV
E_PhaseA_Temp_LAV
E_PhaseA_Temp_LTV
E_PhaseB_Temp_HAV
E_PhaseB_Temp_HTV
E_PhaseB_Temp_LAV
E_PhaseB_Temp_LTV
E_PhaseC_Temp_HAV
E_PhaseC_Temp_HTV
E_PhaseC_Temp_LAV
E_PhaseC_Temp_LTV
E_Post_Run_Time
E_Safety_Factor
E_Stage1_Press_HAV
E_Stage1_Press_HTV
E_Stage1_Press_LAV
E_Stage1_Press_LTV
E_Stage1_Temp_HAV
E_Stage1_Temp_HTV
E_Stage1_Temp_LAV
E_Stage1_Temp_LTV
E_Stage1_Vib_HAV
E_Stage1_Vib_HTV
E_Stage1Y_Vib_HAV
E_Stage1Y_Vib_HTV
E_Stage1Y_Vib_LAV
E_Stage1Y_Vib_LTV
E_Stage2_Press_HAV
E_Stage2_Press_HTV
E_Stage2_Press_LAV
E_Stage2_Press_LTV
E_Stage2_Temp_HAV
E_Stage2_Temp_HTV
E_Stage2_Temp_LAV
E_Stage2_Temp_LTV
E_Stage2_Vib_HAV
E_Stage2_Vib_HTV
E_Stage2_Vib_LAV
E_Stage2_Vib_LTV
E_Stage2Y_Vib_HAV
E_Stage2Y_Vib_HTV
E_Stage2Y_Vib_LAV
E_Stage2Y_Vib_LTV
E_Stage3_Press_HAV
E_Stage3_Press_HTV
E_Stage3_Press_LAV
E_Stage3_Press_LTV
E_Stage3_Temp_HAV
E_Stage3_Temp_HTV
E_Stage3_Temp_LAV
E_Stage3_Temp_LTV
E_Stage3_Vib_HAV
E_Stage3_Vib_HTV
E_Stage3_Vib_LAV
E_Stage3_Vib_LTV
E_Stage3Y_Vib_HAV
E_Stage3Y_Vib_HTV
E_Stage3Y_Vib_LAV
E_Stage3Y_Vib_LTV
E_Stage4_Press_HAV
E_Stage4_Press_HTV
E_Stage4_Press_LAV
E_Stage4_Press_LTV
E_Stage4_Temp_HAV
E_Stage4_Temp_HTV
E_Stage4_Temp_LAV
E_Stage4_Temp_LTV
E_Stage4_Vib_HAV
E_Stage4_Vib_HTV
E_Stage4_Vib_LAV
E_Stage4_Vib_LTV
E_Stage4Y_Vib_HAV
E_Stage4Y_Vib_HTV
E_Stage4Y_Vib_LAV
E_Stage4Y_Vib_LTV
E_Stage5_Press_HAV
E_Stage5_Press_HTV
E_Stage5_Press_LAV
E_Stage5_Press_LTV
E_Stage5_Temp_HAV
E_Stage5_Temp_HTV
E_Stage5_Temp_LAV
E_Stage5_Temp_LTV
E_Stage5_Vib_HAV
E_Stage5_Vib_HTV
E_Stage5_Vib_LAV
E_Stage5_Vib_LTV
E_Stage5Y_Vib_HAV
E_Stage5Y_Vib_HTV
E_Stage5Y_Vib_LAV
E_Stage5Y_Vib_LTV
E_Starting_Time
E_Surge_Count
E_Surge_Index_Value
E_Surge_Point
E_Surge_Sensitivity
E_User_PSP
Edit
Fan_1
Fan_10
Fan_2
Fan_3
Fan_4
Fan_5
Fan_6
Fan_7
Fan_8
Fan_9
Flow_Const
Flow_Input
Flow_Input_HA
Flow_Input_HAV
Flow_Input_HT
Flow_Input_HTV
Flow_Input_LA
Flow_Input_LAV
Flow_Input_LT
Flow_Input_LTV
Flow_Input_TF
Four_in_Ten
Gain
Go_to_IV_Min_Pos
Head_Temp
Heater_Off_Temp
Heater_On_Temp
Heater_Undervoltage
High_Oil_Press
HighSurgeAmpsSP
HighSurgepressureSP
HMI_Alarm_Map
HMI_Bits
HMI_Ints
HMI_Reals
HMI_Remote_Comms
Hot_Discharge
Inlet_Filter_DP
Inlet_Filter_DP_HA
Inlet_Filter_DP_HAV
Inlet_Filter_DP_HT
Inlet_Filter_DP_HTV
Inlet_Filter_DP_LA
Inlet_Filter_DP_LAV
Inlet_Filter_DP_LT
Inlet_Filter_DP_LTV
Inlet_Filter_DP_TF
Inlet_Press
Inlet_Temp
Inlet_Temp_HA
Inlet_Temp_HAV
Inlet_Temp_HT
Inlet_Temp_HTV
Inlet_Temp_LA
Inlet_Temp_LAV
Inlet_Temp_LT
Inlet_Temp_LTV
Inlet_Temp_TF
Inlet_Valve
IV_1
IV_2
IV_3
IV_4
IV_5
IV_6
IV_at_Idle_Pos
IV_Closed
IV_FLA_Control
IV_FLA_corr_gt_zero
IV_FLA_corr_lt_zero
IV_FLA_Correction
IV_FLA_Error
IV_FLA_PID
IV_FLA_PID_Out
IV_FLA_PID_Update
IV_FLA_Prev_Error
IV_FLA_Test
IV_FLACorrection_Enabled
IV_Freeze
IV_Full_Open
IV_Idle_Pos
IV_Input
IV_Input_HA
IV_Input_HAV
IV_Input_HT
IV_Input_HTV
IV_Input_LA
IV_Input_LAV
IV_Input_LT
IV_Input_LTV
IV_Input_TF
IV_Man_Ramp_Rate
IV_Min_Pos
IV_Min_Pos_Reset
IV_Press_Control
IV_Press_corr_gt_FLA_corr
IV_Press_corr_gt_zero
IV_Press_corr_lt_FLA_corr
IV_Press_corr_lt_zero
IV_Press_Correction
IV_Press_Error
IV_Press_PID
IV_Press_PID_Out
IV_Press_PID_Update
IV_Press_Prev_Error
IV_Press_SPT
IV_Press_SPT_aft_Offset
IV_Press_Test
IV_Press_Var
IV_PressCorrection_Enabled
IV_Ramp_Closed
IV_Ramp_Open
IV_SPT_Offset
IV_Start_Pos
IV_State
IV_States
IV_T
KGCM2
KPA
KW_Input
KW_Input_HA
KW_Input_HAV
KW_Input_HT
KW_Input_HTV
KW_Input_LA
KW_Input_LAV
KW_Input_LT
KW_Input_LTV
KW_Input_TF
Load_Command
Load_Relay
LowSurgeAmpsSP
LowSurgePressureSP
M60_Block_Start
Master_Comm_OK
Min_Pos_Delay_Time
Minload_Select
Motor_Current
Motor_Data
Motor_Trip
Motor_Trip_Enable
NDE_BRG_Temp_HA
NDE_BRG_Temp_HAV
NDE_BRG_Temp_HT
NDE_BRG_Temp_HTV
NDE_BRG_Temp_LA
NDE_BRG_Temp_LAV
NDE_BRG_Temp_LT
NDE_BRG_Temp_LTV
NDE_BRG_Temp_TF
NDE_BRG_Vib
NDE_BRG_Vib_HA
NDE_BRG_Vib_HAV
NDE_BRG_Vib_HT
NDE_BRG_Vib_HTV
NDE_BRG_Vib_LA
NDE_BRG_Vib_LAV
NDE_BRG_Vib_LT
NDE_BRG_Vib_LTV
NDE_BRG_Vib_TF
No_Setpoint_Offset
Number_of_Stages
Offset
Oil_Heater_On
Oil_Heater_Start
Oil_Heater_Stop
Oil_Lockout
Oil_Press
Oil_Press_HA
Oil_Press_HAV
Oil_Press_HT
Oil_Press_HTV
Oil_Press_LA
Oil_Press_LAV
Oil_Press_LT
Oil_Press_LTV
Oil_Press_TF
Oil_Reservoir_Temp
Oil_Reservoir_Temp_HA
Oil_Reservoir_Temp_HAV
Oil_Reservoir_Temp_HT
Oil_Reservoir_Temp_HTV
Oil_Reservoir_Temp_LA
Oil_Reservoir_Temp_LAV
Oil_Reservoir_Temp_LT
Oil_Reservoir_Temp_LTV
Oil_Reservoir_Temp_TF
Oil_Temp
Oil_Temp_HA
Oil_Temp_HAV
Oil_Temp_HT
Oil_Temp_HTV
Oil_Temp_LA
Oil_Temp_LAV
Oil_Temp_LT
Oil_Temp_LTV
Oil_Temp_TF
OK_Transition
One_Shots
P_Word
P_Word_Accept
PhaseA_Temp
PhaseA_Temp_HA
PhaseA_Temp_HAV
PhaseA_Temp_HT
PhaseA_Temp_HTV
PhaseA_Temp_LA
PhaseA_Temp_LAV
PhaseA_Temp_LT
PhaseA_Temp_LTV
PhaseA_Temp_TF
PhaseB_Temp
PhaseB_Temp_HA
PhaseB_Temp_HAV
PhaseB_Temp_HT
PhaseB_Temp_HTV
PhaseB_Temp_LA
PhaseB_Temp_LAV
PhaseB_Temp_LT
PhaseB_Temp_LTV
PhaseB_Temp_TF
PhaseC_Temp
PhaseC_Temp_HA
PhaseC_Temp_HAV
PhaseC_Temp_HT
PhaseC_Temp_HTV
PhaseC_Temp_LA
PhaseC_Temp_LAV
PhaseC_Temp_LT
PhaseC_Temp_LTV
PhaseC_Temp_TF
Power_Input
Power_Input_HA
Power_Input_HAV
Power_Input_HT
Power_Input_HTV
Power_Input_LA
Power_Input_LAV
Power_Input_LT
Power_Input_LTV
Power_Input_TF
Prelube_Running
Prelube_Undervoltage
Pressure
Previous_Current
Previous_Pressure
PSI
PSP_Ramp_Up
Real_Cntrl_Line_SP
Real_Cntrl_Line_Stpt
Real_PSP
Real_PSP_Test1
Real_PSP_Test2
Reload_Pressure
Remote_Ack
Remote_Load
Remote_Reset
Remote_Start
Remote_Starter
Remote_Stop
Remote_System_Press
Remote_System_Press_HA
Remote_System_Press_HAV
Remote_System_Press_HT
Remote_System_Press_HTV
Remote_System_Press_LA
Remote_System_Press_LAV
Remote_System_Press_LT
Remote_System_Press_LTV
Remote_System_Press_TF
Remote_Unload
Reset_Command
RMT_Ack
RMT_Load
RMT_Reset
RMT_Start
RMT_Stop
RMT_Unload
Running
Scale_Press_Gain
Scale_Temp_Gain
Scale_Temp_Offset
Scale_Vib_Gain
Setpoint_Aft_Offset
Setpoint_Offset_SP
Simulation_Mode
Six_Nine_Closing_Avail
Six_nine_Closing_TCC
Stage1_Press
Stage1_Press_filt
Stage1_Press_filt_C
Stage1_Press_HA
Stage1_Press_HAV
Stage1_Press_HT
Stage1_Press_HTV
Stage1_Press_LA
Stage1_Press_LAV
Stage1_Press_LT
Stage1_Press_LTV
Stage1_Press_Old
Stage1_Press_Ratio
Stage1_Press_TF
Stage1_Temp
Stage1_Temp_AT_Mul
Stage1_Temp_HA
Stage1_Temp_HAV
Stage1_Temp_HT
Stage1_Temp_HTV
Stage1_Temp_LA
Stage1_Temp_LAV
Stage1_Temp_LT
Stage1_Temp_LTV
Stage1_Temp_TF
Stage1_Vib
Stage1_Vib_AT_Mul
Stage1_Vib_HA
Stage1_Vib_HAV
Stage1_Vib_HT
Stage1_Vib_HTV
Stage1_Vib_LA
Stage1_Vib_LAV
Stage1_Vib_LT
Stage1_Vib_LTV
Stage1_Vib_TF
Stage1Y_Vib
Stage1Y_Vib_HA
Stage1Y_Vib_HAV
Stage1Y_Vib_HT
Stage1Y_Vib_HTV
Stage1Y_Vib_LA
Stage1Y_Vib_LAV
Stage1Y_Vib_LT
Stage1Y_Vib_LTV
Stage1Y_Vib_TF
Stage2_Press
Stage2_Press_HA
Stage2_Press_HAV
Stage2_Press_HT
Stage2_Press_HTV
Stage2_Press_LA
Stage2_Press_LAV
Stage2_Press_LT
Stage2_Press_LTV
Stage2_Press_Ratio
Stage2_Press_TF
Stage2_Temp
Stage2_Temp_AT_Mul
Stage2_Temp_HA
Stage2_Temp_HAV
Stage2_Temp_HT
Stage2_Temp_HTV
Stage2_Temp_LA
Stage2_Temp_LAV
Stage2_Temp_LT
Stage2_Temp_LTV
Stage2_Temp_TF
Stage2_Vib
Stage2_Vib_AT_Mul
Stage2_Vib_HA
Stage2_Vib_HAV
Stage2_Vib_HT
Stage2_Vib_HTV
Stage2_Vib_LA
Stage2_Vib_LAV
Stage2_Vib_LT
Stage2_Vib_LTV
Stage2_Vib_TF
Stage2Y_Vib
Stage2Y_Vib_HA
Stage2Y_Vib_HAV
Stage2Y_Vib_HT
Stage2Y_Vib_HTV
Stage2Y_Vib_LA
Stage2Y_Vib_LAV
Stage2Y_Vib_LT
Stage2Y_Vib_LTV
Stage2Y_Vib_TF
Stage3_Press
Stage3_Press_HA
Stage3_Press_HAV
Stage3_Press_HT
Stage3_Press_HTV
Stage3_Press_LA
Stage3_Press_LAV
Stage3_Press_LT
Stage3_Press_LTV
Stage3_Press_Ratio
Stage3_Press_TF
Stage3_Temp
Stage3_Temp_AT_Mul
Stage3_Temp_HA
Stage3_Temp_HAV
Stage3_Temp_HT
Stage3_Temp_HTV
Stage3_Temp_LA
Stage3_Temp_LAV
Stage3_Temp_LT
Stage3_Temp_LTV
Stage3_Temp_TF
Stage3_Vib
Stage3_Vib_AT_Mul
Stage3_Vib_HA
Stage3_Vib_HAV
Stage3_Vib_HT
Stage3_Vib_HTV
Stage3_Vib_LA
Stage3_Vib_LAV
Stage3_Vib_LT
Stage3_Vib_LTV
Stage3_Vib_TF
Stage3Y_Vib
Stage3Y_Vib_HA
Stage3Y_Vib_HAV
Stage3Y_Vib_HT
Stage3Y_Vib_HTV
Stage3Y_Vib_LA
Stage3Y_Vib_LAV
Stage3Y_Vib_LT
Stage3Y_Vib_LTV
Stage3Y_Vib_TF
Stage4_Press
Stage4_Press_HA
Stage4_Press_HAV
Stage4_Press_HT
Stage4_Press_HTV
Stage4_Press_LA
Stage4_Press_LAV
Stage4_Press_LT
Stage4_Press_LTV
Stage4_Press_TF
Stage4_Temp
Stage4_Temp_AT_Mul
Stage4_Temp_HA
Stage4_Temp_HAV
Stage4_Temp_HT
Stage4_Temp_HTV
Stage4_Temp_LA
Stage4_Temp_LAV
Stage4_Temp_LT
Stage4_Temp_LTV
Stage4_Temp_TF
Stage4_Vib
Stage4_Vib_AT_Mul
Stage4_Vib_HA
Stage4_Vib_HAV
Stage4_Vib_HT
Stage4_Vib_HTV
Stage4_Vib_LA
Stage4_Vib_LAV
Stage4_Vib_LT
Stage4_Vib_LTV
Stage4_Vib_TF
Stage4Y_Vib
Stage4Y_Vib_HA
Stage4Y_Vib_HAV
Stage4Y_Vib_HT
Stage4Y_Vib_HTV
Stage4Y_Vib_LA
Stage4Y_Vib_LAV
Stage4Y_Vib_LT
Stage4Y_Vib_LTV
Stage4Y_Vib_TF
Stage5_Press
Stage5_Press_HA
Stage5_Press_HAV
Stage5_Press_HT
Stage5_Press_HTV
Stage5_Press_LA
Stage5_Press_LAV
Stage5_Press_LT
Stage5_Press_LTV
Stage5_Press_TF
Stage5_Temp
Stage5_Temp_AT_Mul
Stage5_Temp_HA
Stage5_Temp_HAV
Stage5_Temp_HT
Stage5_Temp_HTV
Stage5_Temp_LA
Stage5_Temp_LAV
Stage5_Temp_LT
Stage5_Temp_LTV
Stage5_Temp_TF
Stage5_Vib
Stage5_Vib_AT_Mul
Stage5_Vib_HA
Stage5_Vib_HAV
Stage5_Vib_HT
Stage5_Vib_HTV
Stage5_Vib_LA
Stage5_Vib_LAV
Stage5_Vib_LT
Stage5_Vib_LTV
Stage5_Vib_TF
Stage5Y_Vib
Stage5Y_Vib_HA
Stage5Y_Vib_HAV
Stage5Y_Vib_HT
Stage5Y_Vib_HTV
Stage5Y_Vib_LA
Stage5Y_Vib_LAV
Stage5Y_Vib_LT
Stage5Y_Vib_LTV
Stage5Y_Vib_TF
Start_Command
Start_Enabled
Start_Permissive
Starter_Type
Stop_Command
Stop_Requested
Sub_IV_Press_SPT
Subst_AS_SP
Surge_c
Surge_Count_Max
Surge_Cur_SP
Surge_p
Surge_Press
Surge_Press_Filt
Surge_Press_Filt_C
Surge_Press_Old
Surge_Press_SP
SurgeLimit
SurgeLineMinAmps
SurgeLineOffsetSP
SurgeTemp_Factor
SurgeTempRefSP
System_Press
System_Press_filt
System_Press_filt_C
System_Press_Old
Temperature
TEST
TestWord
Trend_Max_Press
Trend_Max_Temp
Trend_Max_Vib
Trend_Min_Press
Trend_Min_Temp
Trend_Min_Vib
TSI_CMD
TSI_Digital_Alarms
TSI_DINT_Data
TSI_REAL_Data
UAI_Temp_Data
UAI_Temp_Over
UAI_Temp_Under
UAlarms
UAnalog_Values
Unit_Selected_Press
Unit_Selected_Temp
Unit_Selected_Vib
Unload_Command
User_PSP_Changed
User_PSP_Previous
Vib
YD_Start
YD_Starter
ZERO
Zero_Current